ISOLATED LIGHTING PERMIT APPLICATION	Wisconsin Department of Transportation

DT1885 11/2014 s. 84.02(4)(c) Wis. Stats. State Project Number

Submit 2 copies to the Regional Office of the Wisconsin Department of Transportation, including:

Attach engineering drawing of lighting installation including all applicable information such 
as location, spacing of poles, wiring, lighting units, edge of pavement, curblines and shoulders, etc. Include complete proposed installation from sourceline to lighting fixture. Include specifications and special provisions.

| Highway |  |  |  |  | Intersected Highway Name or Number; Area Limits |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Applicant Name (must be a Government Unit) |  | Applicant Mailing Address, City, State, ZIP Code |  |  |  |  | (Area Code) Telephone Number |  |
| Designer Name |  | Designer Mailing Address, City, State, ZIP Code |  |  |  |  | (Area Code) Telephone Number |  |
| Maintainer Name |  | Maintainer Mailing Address, City, State, ZIP Code |  |  |  |  | (Area Code) Telephone Number |  |
| County |  | Posted Speed Limit mph |  |  | ADT and Year vpd |  | Cross Section Rural Urban |  |
| Number of Poles | Material and Class |  | Mast Arm Length ft |  | Base Type Breakaway Non-Breakaway Direct Bury |  | Wiring Overhead Underground |  |
| Number of Luminaires | Mounting Height Above Pavement |  |  | Watts Source |  | IES Distribution Type and BUG Rating |  | Intitial Lumens |

The list of attachments to this permit application includes plan sheets, calculations, specifications, etc.

The designated applicant applies to the Wisconsin Department of Transportation, Division of Transportation System Development for permission to install, operate and maintain, or to contract for the installation, operation and maintenance of highway lighting units within the limits of the right of way of the state trunk highway, all as described above.

The applicant certifies that if the proposed lighting is located in another unit of government, written consent has been obtained as required by Wisconsin Statutes from the other unit of government in which the proposed lighting units and associated power line extensions are located, and that such consent is currently valid and covers all of the proposed work.

The undersigned certifies that s/he is authorized to sign this application on behalf of the designated applicant.

| ### X |  |  |
| --- | --- | --- |
| (Applicant Signature) (Date – m/d/yyyy) |  | (Applicant Title) |

# Applicant: Do Not Write Below This Line

## PERMIT APPROVAL

Permission is granted to the above applicant to install, operate and maintain highway lighting units and associated power lines and poles as described in this application and the attached drawings and specifications, subject to the conditions on the following page of this application.

## ISOLATED LIGHTING – Approved for Regional Office

| Permit Number | Date Issued (m/d/yyyy) | X |
| --- | --- | --- |
|  |  | (Approval Signature) |

ISOLATED LIGHTING PERMIT APPLICATION (continued)

Wisconsin Department of Transportation     DT1885

#### Highway Lighting Installation Permit Conditions

1.	The installation, including all wiring, supports, equipment, roadway clearance, etc., shall be in accordance with pertinent statutes, codes, and regulations as well as good trade and engineering practice, and shall be properly maintained.

2.	The installation, operation, and maintenance of the highway lighting facilities shall be at the expense of the permittee.  Alterations in any part of the installation as are required at any time by the Wisconsin Department of Transportation shall be made by the permittee at his/her own expense within 60 days.

3.	Construction and maintenance operations shall be performed without closing the highway to traffic except as may be specifically authorized by authorized representatives of the governmental agency maintaining the highway.  Unless otherwise authorized, two-way traffic shall be maintained at all times.  Proper barricades, signs, flags, lights, and flagpersons shall be provided and maintained at all locations in accordance with the Manual on uniform Traffic Control Devices.

4.	The permittee shall not interfere with the normal use of the adjoining land by the owners in the installation, alteration, maintenance, or removal of the facilities authorized by this permit.

5.	A concrete base, if used, shall not extend more than four (4) inches above ground level at any point.

6.	The highway lighting facilities installed by authority of this permit may be removed by the permittee, following 30 days written notice to the Wisconsin Department of Transportation, but such removal shall be subject to the conditions governing the installation of the lighting and associated electric power lines.

7.	Any excavations necessitated by the proposed work shall be effectively backfilled and subsequent settlements after backfilling repaired to the satisfaction of the highway authority.  Roadway surfaces, pavements, structures, vegetation, or other highway facilities damaged shall be repaired or restored to the satisfaction of the highway authority.  Temporary sheeting and shoring shall be used as necessary to prevent soil caving in any trenches and tunnels.

8.	Following any work on the highway right of way incident to an installation, alteration, or removal under this permit, the permittee shall restore the right of way to its condition previous to the work by the permittee, said restoration to meet with the approval of the Wisconsin Department of Transportation.

9.	No trees or shrubs shall be cut, trimmed, or branches cut or broken in the construction or maintenance of the line without the consent of the owner of the trees or shrubs.

10.	Any brush, trash, waste, or rubbish resulting from construction or maintenance of the line shall be removed from the highway right of way.

11.	All wood and debris from any elm trees or other diseased trees which have been trimmed in performance of the work permitted under this permit shall be disposed of in accordance with approved Wisconsin Department of Transportation’s procedure, a copy of which may be obtained from the approving district office.

12.	The permittee shall immediately notify the district office when the installation has been completed.

13.	Any special provisions attached shall be considered as part of this permit.