1. Clearance Gauge, Item SPV.0060.xx.
A  Description
This special provision describes cleaning the end of a pier and painting a clearance gauge on it.
B  Materials
Use paint formulated to be used on concrete in exterior conditions.
C  Construction
Lightly sand blast the area to be painted.
D  Measurement
The department will measure Clearance Gauge as each individual clearance gauge acceptably completed.  
E  Payment
The department will pay for the measured quantity at the contract unit price under the following bid item:
ITEM NUMBER	DESCRIPTION	UNIT
SPV.0060.xx	Clearance Gauge	EACH
Payment for Clearance Gauge is full compensation for cleaning the pier area and painting the clearance gauge.
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