1. [bookmark: _Toc311717352][bookmark: _Toc353439247]Strapping B-XX-XXX, Item SPV.0060.xx.
A  Description
This special provision describes securing a wing wall to a culvert or abutment body with a structural channel.
B  Materials
Use galvanized structural channel conforming to the size and material shown on the plans, and conforming to standard spec 506.
C  Construction
Attach the structural channel with the number, size and spacing of anchors shown on the plans.
D  Measurement
The department will measure Strapping B-XX-XXX, as each wing for the repair work acceptably completed.
E  Payment
The department will pay for measured quantities at the contract unit price under the following bid item:
ITEM NUMBER	DESCRIPTION	UNIT
SPV.0060.xx	Strapping B-XX-XXX	EACH
Payment for Strapping B-XX-XXX is full compensation for furnishing and installing the channel. 
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